DAQ Systems in India
CAMAC
Controllers: BARC, IUAC, CMC-100, Kinetic
Modules: BARC, IUAC, ORTEC, CAEN, LeCroy, Phillips
CANDLE, FREEDOM at IUAC
LAMPS at BARC-TIFR (in use also at IUAC and VECC)
CAMACDAQ at VECC
VME
VMEDAQ at VECC Kolkata first VME system in India (around 2008)
LAMPS_VME at BARC-TIFR and NAND-IUAC (around 2010)
ROSE-NIAS at IUAC (2019)
DIGITAL
XIA System at TIFR (around 2010)
XIA System at VECC, UGC-DAE-CSR
CAEN Digital systems:
Tabletop digitisers
VME Module digitizers
CoMPASS: Multiparametric DAQ Software for Physics Applications

---
Data Acquisition for Physics
Hardware and software to record and process data in experiments
Simulation
Spectra
Acquire Data
Experiment
List Data
Online Processing
Rewrite List Data
Offline Processing
List Mode Analysis
Spectrum Processing
Physics Analysis

---
Common Concepts
List mode / Event mode / ADC data
zls (LAMPS)
csv
.001 (Candle/Freedom)
.root
Understanding list mode data
Like an Excel Sheet with Rows as Events and Columns as Parameters
Then, why are there other formats?
1.Data Compaction 2. Efficiency in processing
Pseudo parameters / Virtual ADCs / Software ADcs
Mathematically derived quantities inserted in the event loop

---
Rewriting List Data
Changing from one format to another
Adding Pseudo Parameters
Calibrated parameters – Exampes:
Gain matched Clover
Total Energy
Position (Position sensitive Det)
Angle
Kinematic quantities
Deleting unwanted parameters
Deleting unwanted parameters
Why?
Other programs which need a different format
Making the files more compact
Faster event loop in annalysis
Avoidinng confusion

---
Spectra / Histograms
1d histograms
ROOT: TH1C, TH1S, TH1I, TH1F, TH1D
LAMPS: Single Word, Double Word
2d histograms
ROOT: TH2C, TH2S, TH2I, TH2F, TH2D
LAMPS: Single Word, Double Word

---
Analysis
Building histograms from List mode data (Event Loop)
It requires:
Calculation of pseudo parameters
Setting gates (conditions)
Save your work
Saving histograms in ROOT and LAMPS
Saving CUTG in ROOT and BGate in LAMPS

---
LAMPS
Decide if your work will need user.F or not
Create directory for your work and use either
lamps1 alias or ./lamps
Never work in the installation directory (lamps_offline)
Follow Directory discipline:
Place list data files in zls directory,
Saved histograms in Spec directory
Banana Gates in Ban directory
First build without gates / conditions / pseudos / user.F
Add these features one by one
Do not forget to recompile while changing user.F

---
Spectrum analysis in LAMPS
LAMPS can give you
Peak integrals and areas
Quick fit to single peaks
Interactive multi-peak fits
Calibration (applies on list data parameters)
Auto calibration of Eu spectra
Projections from 2d to 1d

---
Getting stuck in LAMPS
Contact DrAmbar@gmail.com (best)
WhatsApp 8141594459 (slow response)
Phone: 8141594459 (if urgent)

---
ROOT
Make sure ROOT is working from any directory
Create directory for your work
Explore the root files with .ls and Tree->Print();
Dont bother with the TreeBrowser
Make some assesment of the data with Draw() commands,
but do not spend time on this
Start writing macros. Best is dual Macro/Program cpp files
When in doubt try out from the command line
First try without cuts, conditions, mathematical quantities
Add these features one by one
Intially run as Macro and keep improving the Macro
(Optional) Run as complete program to speed up analysis

---
Spectrum Analysis in ROOT
Open the saved spectra from the command line
Execute h.Integral(Xmin,Xmax) commands
to get Integrals both in 1d and 2d
ROOT cant give Areas (you can write your own macro)
ROOT can make projections (2d to 1d) but this is better done inside your Macro/Program
ROOT can analyse complete gamma ray spectra in one go:
https://root.cern/root/html518/TSpectrumFit.html
(not covered in this course)

---
Getting stuck in ROOT
Many ROOT features not explained in this course
User Guide:
https://root.cern.ch/root/htmldoc/guides/users-guide/ROOTUsersGuide.html
Complete Reference:
https://root.cern/doc/master/
Google Search:
Always pre-pend your query with CERN ROOT
e.g. CERN ROOT THIST

---
Google Search: Always pre-pend your query with CERN ROOT
e.g. CERN ROOT THIST

---
Maybe I can help:
Contact DrAmbar@gmail.com (best)
WhatsApp 8141594459 (slow response)
Phone: 8141594459 (if urgent)